|  | Checklist for Team Leader of ISO 15189: 2022 and Related Requirements |
| --- | --- |
| Organization Name |  |
| Laboratory Name |  |
| Division / Dept. |  |
| Lab. Representative | Name: | Position: |
| Laboratory Ref. No. |  |
| Team Leader Name |  |
| Reporting Assessor(s) Name(s) |  |
| Assessment Type | Pre-assessment | Initial | Assessment No. ( ) | Follow up |
|  | Re- Assessment | Extension | Un-Planned |
| This report covers: | Reporting assessment visit |  |  |
| Laboratory Activities | Clinical Chemistry | Hematology |
|  | Flow Cytometry | Immunology |
|  | Serology | Microbiology |
|  | Molecular | Genetics |
|  | Pathology | Hematopathology |
|  | Metabolic Disorders | Clinical Cytogenetic |
|  | Clinical Toxicology | Blood Transfusion Testing |
|  | Parasitology | Virology |
|  | Point of Care Testing | Mycobacteriology |
|  | Others ………………….. | ………………….. |
| REQUIREMENTS & COMMENTS Compliance = C, Non-compliance = NC, Comment = Cm, Not applicable = NA Comment below on adequacy of how requirements have been addressed, documented and/or implemented. References to ISO 15189:2022 are in indicated as Std & notes are in italic. The order of assessment not need to follow the order of the checklist. Assessment team are expected to know & have the standard, this worksheet is designed as guidance to prompt detailed recording of the process. |
| Clause | Assessor Comment below every standard clause on the adequacy of how requirements have been addressed, documented, and/or implemented by the CAB referring to lab documents and records. References to ISO 15189: 2022 are indicated as Std & notes are in italics. The order of assessment need not follow the order of the checklist. Assessors are expected to know & have the standard, this worksheet is designed as guidance to the prompt detailed recording of the process. REVIEW TO ISO 15189: 2022 FOR DETAIL AND FOR CLARIFICATION NOTES. | C NC Cm NA |
| 4 | General requirements |  |
| 4.1 | Impartiality, How are the following addressed / implemented? |  |
| Notes in Std | Laboratory activities shall be undertaken impartially. The laboratory shall be structured and managed to safeguard impartiality |  |
|  | The laboratory management shall be committed to impartiality. |  |
|  | The laboratory shall be responsible for the impartiality of its laboratory activities and shall not allow commercial, financial or other pressures to compromise impartiality. |  |
|  | The laboratory shall monitor its activities and its relationships to identify threats to its impartiality. This monitoring shall include relationships of its personnel. |  |
|  | If a threat to impartiality is identified, the effect shall be eliminated or minimized so that the impartiality is not compromised. The laboratory shall be able to demonstrate how it mitigates such threat. |  |
| 4.2 | Confidentiality, How are the following addressed / implemented? |  |
| 4.2.1 | The laboratory shall be responsible, through legally enforceable agreements, for the management of all patient information obtained or created during the performance of laboratory activities. Management of patient information shall include privacy and confidentiality. The laboratory shall inform the user and/or the patient in advance, of the information it intends to place in the public domain. Except for information that the user and/or the patient makes publicly available, or when agreed between the laboratory and the patient (e.g. for the purpose of responding to complaints), all other information is considered proprietary information and shall be regarded as confidential. |  |
| 4.2.2 | When the laboratory is required by law or authorized by contractual arrangements to release confidential information, the patient concerned shall be notified of the information released, unless prohibited by law. Information about the patient from a source other than the patient (e.g. complainant, regulator) shall be kept confidential by the laboratory. The identity of the source shall be kept confidential by the laboratory and shall not be shared with the patient, unless agreed by the source. |  |
| 4.2.3 | Personnel, including any committee members, contractors, personnel of external bodies, or individuals with access to laboratory information acting on the laboratory’s behalf, shall keep confidential all information obtained or created during the performance of laboratory activities. |  |
| 4.3 | Requirements regarding patients, How are the following addressed / implemented? |  |
|  | Laboratory management shall ensure that patients’ well-being, safety and rights are the primary considerations. The laboratory shall establish and implement the following processes: |  |
|  | Opportunities for patients and laboratory users to provide helpful information to aid the laboratory in the selection of the examination methods, and the interpretation of the examination results; |  |
|  | Provision of patients and users with publicly available information about the examination process, including costs when applicable, and when to expect results; |  |
|  | Periodic review of the examinations offered by the laboratory to ensure they are clinically appropriate and necessary; |  |
|  | Where appropriate, disclosure to patients, users and any other relevant persons, of incidents that resulted or could have resulted in patient harm, and records of actions taken to mitigate those harms; |  |
|  | Treatment of patients, samples, or remains, with due care and respect; |  |
|  | Obtaining informed consent when required; |  |
|  | Ensuring the ongoing availability and integrity of retained patient samples and records in the event of the closure, acquisition or merger of the laboratory; |  |
|  | Making relevant information available to a patient and any other health service provider at the request of the patient or the request of a healthcare provider acting on their behalf; |  |
|  | Upholding the rights of patients to care that is free from discrimination. |  |
| 5 | Structural and governance requirements, How are the following addressed / implemented? |  |
| 5.1 Notes in Std. | The laboratory or the organization of which the laboratory is a part shall be an entity that can be held legally responsible for its activities. |  |
| 5.2 | Laboratory director, How are the following addressed / implemented? |  |
| 5.2.1 | Laboratory director competence |  |
|  | The laboratory shall be directed by a person, or persons however named, with the specified qualifications, competence, delegated authority, responsibility, and resources to fulfil the requirements of this document. |  |
| 5.2.2 | Laboratory director responsibilities |  |
|  | The laboratory director is responsible for the implementation of the management system, including the application of risk management to all aspects of the laboratory operations so that risks to patient care and opportunities to improve are systematically identified and addressed. The duties and responsibilities of the laboratory director shall be documented. |  |
| 5.2.3 | Delegation of duties |  |
|  | The laboratory director may delegate either selected duties or responsibilities, or both, to qualified and competent personnel and such delegation shall be documented. However, the laboratory director shall maintain the ultimate responsibility for the overall operation of the laboratory. |  |
| 5.3 | Laboratory activities |  |
| 5.3.1 | General, How are the following addressed / implemented? |  |
|  | The laboratory shall specify and document the range of laboratory activities, including laboratory activities performed at sites other than the main location (e.g. POCT, sample collection) for which it conforms with this document. The laboratory shall only claim conformity with this document for this range of laboratory activities, which excludes externally provided laboratory activities on an ongoing basis. |  |
| 5.3.2 | Conformance with requirements, How are the following addressed / implemented? |  |
|  | Laboratory activities shall be carried out in such a way as to meet the requirements of this document, the users, regulatory authorities and organizations providing recognition. This applies to the complete range of specified and documented laboratory activities, regardless of where the service is provided. |  |
| 5.3.3 | Advisory activities, How are the following addressed / implemented? |  |
|  | Laboratory management shall ensure that appropriate laboratory advice and interpretation are available and meet the needs of patients and users. The laboratory shall establish arrangements for communicating with laboratory users on the following when applicable: |  |
|  | Advising on choice and use of examinations, including required type of sample, clinical indications and limitations of examination methods, and the frequency of requesting the examination; |  |
|  | Providing professional judgments on the interpretation of the results of examinations; |  |
|  | Promoting the effective utilization of laboratory examinations; |  |
|  | Advising on scientific and logistical matters such as instances of failure of sample(s) to meet acceptability criteria. |  |
| 5.4 | Structure and authority, How are the following addressed / implemented? |  |
| 5.4.1 | General |  |
|  | The laboratory shall: |  |
|  | Define its organization and management structure, its place in any parent organization, and the relationships between management, technical operations and support services; |  |
|  | Specify the responsibility, authority, lines of communication and interrelationship of all personnel who manage, perform or verify work affecting the results of laboratory activities; |  |
|  | Specify its procedures to the extent necessary to ensure the consistent application of its laboratory activities and the validity of the results. |  |
| 5.4.2 | Quality management, How are the following addressed / implemented? |  |
| Notes in Std. | The laboratory shall have personnel who, irrespective of other responsibilities, have the authority and resources needed to carry out their duties, including: |  |
|  | Implementation, maintenance and improvement of the management system; |  |
|  | Identification of deviations from the management system or from the procedures for performing laboratory activities; |  |
|  | Initiation of actions to prevent or minimize such deviations; |  |
|  | Reporting to laboratory management on the performance of the management system and any need for improvement; |  |
|  | Ensuring the effectiveness of laboratory activities. |  |
| 5.5 | Objectives and policies: How are the following addressed / implemented? |  |
| Notes in Std. | Laboratory management shall establish and maintain objectives and policies (see 8.2) to: |  |
|  | Meet the needs and requirements of its patients and users |  |
|  | Commit to good professional practice; |  |
|  | Provide examinations that fulfil their intended use; |  |
|  | Conform to this document. |  |
|  | Objectives shall be measurable, and consistent with policies. The laboratory shall ensure that the objectives and policies are implemented at all levels of the laboratory organization. |  |
|  | Laboratory management shall ensure that the integrity of the management system is maintained when changes to the management system are planned and implemented. |  |
|  | The laboratory shall establish quality indicators to evaluate performance throughout key aspects of pre-examination, examination, and post-examination processes and monitor performance in relation to objectives (see 8.8.2). |  |
| 5.6 | Risk management: How are the following addressed / implemented? |  |
| Notes in Std. | Laboratory management shall establish, implement, and maintain processes for identifying risks of harm to patients and opportunities for improved patient care associated with its examinations and activities, and develop actions to address both risks and opportunities for improvement (see 8.5). |  |
|  | The laboratory director shall ensure that these processes are evaluated for effectiveness and modified, when identified as being ineffective. |  |
| 6 | Resource requirements, How are the following addressed / implemented? |  |
| 6.1 | General |  |
|  | The laboratory shall have available the personnel, facilities, equipment, reagents, consumables and support services necessary to manage and perform its activities. |  |
| 6.2 | Personnel, How are the following addressed / implemented? |  |
| 6.2.1 | General |  |
| Notes in Std | The laboratory shall have access to a sufficient number of competent persons to perform its activities. |  |
|  | All personnel of the laboratory, either internal or external, that could influence the laboratory activities shall act impartially, ethically, be competent and work in accordance with the laboratory’s management system. |  |
|  | The laboratory shall communicate to laboratory personnel the importance of meeting the needs and requirements of users as well as the requirements of this document. |  |
|  | The laboratory shall have a programme to introduce personnel to the organization, the department or area in which the person will work, the terms and conditions of employment, staff facilities, health and safety requirements, and occupational health services. |  |
| Annex A | A.3. Quality assurance programme, How are the following addressed / implemented in the quality system? |  |
|  | The laboratory shall appoint a person with appropriate training and experience to be responsible for POCT quality, which includes review of and conformity with the requirements of this document as related to POCT. |  |
| Annex A | A.4. Training programme (POCT), How are the following addressed / implemented in the quality system? |  |
|  | A person with appropriate training and experience shall be appointed to manage training and competency assessment of personnel performing POCT. The trainer shall develop, implement, and maintain an appropriate theoretical and practical training programme for all POCT personnel. |  |
| 6.2.2 | Competence requirements, How are the following addressed / implemented for quality and internal audit personnel? |  |
| Notes in Std. | The laboratory shall specify the competence requirements for each function influencing the results of laboratory activities, including requirements for education, qualification, training, re-training, technical knowledge, skills and experience. |  |
|  | The laboratory shall ensure all personnel have the competence to perform laboratory activities for which they are responsible. |  |
|  | The laboratory shall have a process for managing competence of its personnel that includes requirements for frequency of competence assessment. |  |
|  | The laboratory shall have documented information demonstrating competence of its personnel. |  |
| 6.2.3 | Authorization, How are the following addressed / implemented? |  |
|  | The laboratory shall authorize personnel to perform specific laboratory activities, including but not limited to, the following: |  |
|  | Selection, development, modification, validation and verification of methods; |  |
|  | Review, release, and reporting of results; |  |
|  | Use of laboratory information systems, in particular: accessing patient data and information, entering patient data and examination results, changing patient data or examination results. |  |
| 6.2.4 | Continuing education and professional development, How are the following addressed / implemented? |  |
|  | A continuing education programme shall be available to personnel who participate in managerial and technical processes. All personnel shall participate in continuing education and regular professional development, or other professional liaison activities. The suitability of the programmes and activities shall be periodically reviewed. |  |
| 6.2.5 | Personnel records, How are the following addressed / implemented for quality personal? |  |
|  | The laboratory shall have procedures and retain records for: |  |
|  | Determining the competence requirements specified in 6.2.2 a); |  |
|  | Position descriptions; |  |
|  | Training and re-training; |  |
|  | Authorization of personnel; |  |
|  | Monitoring competence of personnel. |  |
| 6.7 | Service agreements |  |
| 6.7.1 | Agreements with laboratory users, How are the following addressed / implemented? |  |
|  | The laboratory shall have a procedure to establish and periodically review agreements for providing laboratory activities. The procedure shall ensure: |  |
|  | The requirements are adequately specified; |  |
|  | The laboratory has the capability and resources to meet the requirements; |  |
|  | When applicable, the laboratory advises the user of the specific activities to be performed by referral laboratories and consultants. |  |
|  | Laboratory users shall be informed of any changes to an agreement that can affect examination results. Records of reviews, including any significant changes, shall be retained. |  |
| 6.7.2 | Agreements with POCT operators, How are the following addressed / implemented? |  |
|  | Service agreements between the laboratory and other parts of the organization using laboratory supported POCT, shall ensure that respective responsibilities and authorities are specified and communicated. |  |
|  | NOTE Established multidisciplinary POCT committees can be used to manage such service agreements as described in Annex A. |  |
| Annex A | A.2 Governance (POCT), How are the following addressed / implemented? |  |
|  | The governing body of the organization shall be ultimately responsible for ensuring that appropriate processes are in place to monitor the accuracy and quality of POCT conducted within the organization. Service agreements between the laboratory and all locations using laboratory supported POCT shall ensure that respective responsibilities and authorities are specified and communicated within the organization. These agreements shall have clinical approval, and where applicable, financial approval. These service agreements shall be with POCT areas and may be managed via a health professional grouping (e.g. medical advisory committee). |  |
| 6.8 | Externally provided products and services, How are the following addressed / implemented? |  |
| 6.8.1 | General |  |
| Notes in Std | The laboratory shall ensure that externally provided products and services that affect laboratory activities are suitable when such products and services are: |  |
|  | Intended for incorporation into the laboratory's own activities; |  |
|  | Provided, in part or in full, directly to the user by the laboratory, as received from the external provider; |  |
|  | Used to support the operation of the laboratory. |  |
|  | It can be necessary to collaborate with other organizational departments or functions to fulfil this requirement. |  |
| 6.8.2 | Referral laboratories and consultants, How are the following addressed / implemented? |  |
|  | The laboratory shall communicate its requirements to referral laboratories and consultants who provide interpretations and advice, for: |  |
|  | The procedures, examinations, reports and consulting activities to be provided; |  |
|  | Management of critical results; |  |
|  | Any required personnel qualifications and demonstration of competence. |  |
|  | Unless otherwise specified in the agreement, the referring laboratory (and not the referral laboratory) shall be responsible for ensuring that examination results of the referral laboratory are provided to the person making the request. A list of all referral laboratories and consultants shall be maintained. |  |
| 6.8.3 | Review and approval of externally provided products and services, How are the following addressed / implemented? |  |
|  | The laboratory shall have procedures and retain records for: |  |
|  | Defining, reviewing, and approving the laboratory's requirements for all externally provided products and services; |  |
|  | Defining the criteria for qualification, selection, evaluation of performance and re-evaluation of external providers; |  |
|  | Referral of samples; |  |
|  | Ensuring that externally provided products and services conform to the laboratory's established requirements, or where applicable to the relevant requirements of this document, before they are used or directly provided to the user; |  |
|  | Taking any actions arising from evaluations of the performance of external providers. |  |
| 7 | Process requirements, |  |
| 7.1 | General, How are the following addressed / implemented? |  |
|  | The laboratory shall identify potential risks to patient care in the pre-examination, examination and post-examination processes. These risks shall be assessed and mitigated to the extent possible. The residual risk shall be communicated to users as appropriate. The identified risks and effectiveness of the mitigation processes shall be monitored and evaluated according to the potential harm to the patient. The laboratory shall also identify opportunities to improve patient care and develop a framework to manage these opportunities (see 8.5). |  |
| 7.2.3 | Requests for providing laboratory examinations |  |
| 7.2.3.1 | General, How are the following addressed / implemented? |  |
|  | Each request accepted by the laboratory for examination(s) shall be considered an agreement. |  |
|  | The examination request shall provide sufficient information to ensure: Unequivocal traceability of the patient to the request and sample; Identity and contact information of requester; Identification of the examination(s) requested; Informed clinical and technical advice, and clinical interpretation can be provided. |  |
|  | The examination request information may be provided in a format or medium as deemed appropriate by the laboratory and acceptable to the user. |  |
|  | Where necessary for patient care, the laboratory shall communicate with users or their representatives, to clarify the user's request. |  |
| 7.2.3.2 | Oral requests, How are the following addressed / implemented? |  |
|  | The laboratory shall have a procedure for managing oral requests for examinations, if applicable, that includes the provision of documented confirmation of the examination request to the laboratory, within a given time. |  |
| 7.2.4.3 | Patient consent, How are the following addressed / implemented? |  |
| Notes in Std | The laboratory shall obtain the informed consent of the patient for all procedures carried out on the patient. |  |
|  | Special procedures, including more invasive procedures, or those with an increased risk of complications to the procedure, may need a more detailed explanation and, in some cases, recorded consent. |  |
|  | If obtaining consent is not possible in emergency situations, the laboratory may carry out necessary procedures, provided they are in the patient’s best interest. |  |
| 7.5 | Nonconforming work, How are the following addressed / implemented? |  |
|  | The laboratory shall have a process for when any aspect of its laboratory activities or examination results do not conform to its own procedures, quality specifications, or the user requirements (e.g. equipment or environmental conditions are out of specified limits, results of monitoring fail to meet specified criteria). The process shall ensure that: |  |
|  | The responsibilities and authorities for the management of nonconforming work are specified; |  |
|  | Immediate and long-term actions are specified and based upon the risk analysis process established by the laboratory; |  |
|  | Examinations are halted, and reports withheld when there is a risk of harm to patients; |  |
|  | An evaluation is made of the clinical significance of the nonconforming work, including an impact analysis on examination results which were or could have been released prior to identification of the nonconformance; |  |
|  | A decision is made on the acceptability of the nonconforming work; |  |
|  | When necessary, examination results are revised, and the user is notified; |  |
|  | The responsibility for authorizing the resumption of work is specified. |  |
|  | The laboratory shall implement corrective action commensurate with the risk of recurrence of the nonconforming work (see 8.7). The laboratory shall retain records of nonconforming work and actions as specified in 7.5 a) to g). |  |
| 7.6 | Control of data and information management Both TL and TA |  |
| 7.6.1 | General, How are the following addressed / implemented? |  |
| Notes in Std | The laboratory shall have access to the data and information needed to perform laboratory activities. |  |
|  | NOTE 1 In this document, "laboratory information systems" includes the management of data and information contained in both computer and non-computerized systems. Some of the requirements can be more applicable to computer systems than to non-computerized systems. |  |
|  | NOTE 2 Risks associated with computerized laboratory information systems are discussed in ISO 22367:2020, A.13. |  |
|  | NOTE 3 The information security controls, strategies and best practices to ensure the preservation of confidentiality, integrity and availability of information, are listed in ISO/IEC 27001:2022, Annex A Information security controls reference. |  |
| 7.6.2 | Authorities and responsibilities for information management, How are the following addressed / implemented? |  |
| Notes in Std | The laboratory shall ensure that the authorities and responsibilities for the management of the information systems are specified, including the maintenance and modification to the information systems that can affect patient care. The laboratory is ultimately responsible for the laboratory information systems. |  |
| 7.6.3 | Information systems management, How are the following addressed / implemented? |  |
|  | The system(s) used for the collection, processing, recording, reporting, storage or retrieval of examination data and information shall be: |  |
|  | Validated by the supplier and verified for functionality by the laboratory before introduction. Any changes to the system, including laboratory software configuration or modifications to commercial off-the-shelf software, shall be authorized, documented and validated before implementation; |  |
|  | NOTE 1 Validation and verification include, where applicable, the proper functioning of interfaces between the laboratory information system and other systems such as laboratory equipment, hospital patient administration systems and systems in primary care. |  |
|  | NOTE 2 Commercial off-the-shelf software used within its designed application range can be considered sufficiently validated (e.g. word processing and spreadsheet software, and quality management software programs). |  |
|  | Documented, and the documentation readily available to authorized users, including that for day to day functioning of the system; |  |
|  | Implemented taking cybersecurity into account, to protect the system from unauthorized access and safeguard data against tampering or loss; |  |
|  | Operated in an environment that complies with supplier specifications or, in the case of non-computerized systems, provides conditions which safeguard the accuracy of manual recording and transcription; |  |
|  | Maintained in a manner that ensures the integrity of the data and information and includes the recording of system failures and the appropriate immediate and corrective actions. |  |
|  | Calculations and data transfers shall be checked in an appropriate and systematic manner. |  |
| 7.6.4 | Downtime plans, How are the following addressed / implemented? |  |
|  | The laboratory shall have planned processes to maintain operations in the event of failure or during downtime in information systems that affects the laboratory's activities. This includes automated selection and reporting of results. |  |
| 7.6.5 | Off site management, How are the following addressed / implemented? |  |
|  | When the laboratory information system(s) are managed and maintained off-site or through an external provider, the laboratory shall ensure that the provider or operator of the system complies with all applicable requirements of this document. |  |
| 7.7 | Complaints |  |
| 7.7.1 | Process, How are the following addressed / implemented? |  |
| Notes in Std | The laboratory shall have a process for handling complaints that shall include at least the following: |  |
|  | A description of the process for receiving, substantiating and investigating the complaint, and deciding what actions shall be taken in response; . |  |
|  | Tracking and recording the complaint, including the actions undertaken to resolve it; |  |
|  | Ensuring appropriate action is taken. |  |
|  | A description of the process for handling complaints shall be publicly available. |  |
| 7.7.2 | Receipt of complaint, How are the following addressed / implemented? |  |
|  | Upon receipt of a complaint, the laboratory shall confirm whether the complaint relates to laboratory activities that the laboratory is responsible for and, if so, shall resolve the complaint. (see 8.7.1). |  |
|  | The laboratory receiving the complaint shall be responsible for gathering all necessary information to determine whether the complaint is substantiated. |  |
|  | Whenever possible the laboratory shall acknowledge receipt of the complaint, and provide the complainant with the outcome and, if applicable, progress reports. |  |
| 7.7.3 | Resolution of complaint, How are the following addressed / implemented? |  |
|  | Investigation and resolution of complaints shall not result in any discriminatory actions. The resolution of complaints shall be made by, or reviewed and approved by, persons not involved in the subject of the complaint in question. Where resources do not permit this, any alternative approach shall not compromise impartiality. |  |
| 7.8 | Continuity and emergency preparedness planning, How are the following addressed / implemented? |  |
|  | The laboratory shall ensure that risks associated with emergency situations or other conditions when laboratory activities are limited, or unavailable, have been identified, and a coordinated strategy exists that involves plans, procedures, and technical measures to enable continued operations after a disruption. Plans shall be periodically tested and the planned response capability exercised, where practicable. The laboratory shall: |  |
|  | Establish a planned response to emergency situations, taking into account the needs and capabilities of all relevant laboratory personnel; |  |
|  | Provide information and training as appropriate to relevant laboratory personnel; |  |
|  | Respond to actual emergency situations; |  |
|  | Take action to prevent or mitigate the consequences of emergency situations, appropriate to the magnitude of the emergency and the potential impact. |  |
| 8 | Management system requirements |  |
| 8.1 | General requirements |  |
| 8.1.1 | General |  |
|  | The laboratory shall establish, document, implement and maintain a management system to support and demonstrate the consistent fulfilment of the requirements of this document. As a minimum, the management system of the laboratory shall include the following: — Responsibilities (8.1) — Objectives and policies (8.2) — Documented information (8.2, 8.3 and 8.4) — Actions to address risks and opportunities for improvement (8.5) — Continual improvement (8.6) — Corrective actions (8.7) — Evaluations and internal audits (8.8) — Management reviews (8.9) |  |
| 8.1.2 | Fulfilment of management system requirements |  |
|  | The laboratory may meet 8.1.1 by establishing, implementing, and maintaining a quality management system (e.g. in accordance with the requirements of ISO 9001) (see Table B.1). This quality management system shall support and demonstrate the consistent fulfilment of the requirements of Clauses 4 to 7 and the requirements specified in 8.2 to 8.9. |  |
| 8.1.3 | Management system awareness |  |
|  | The laboratory shall ensure that persons doing work under the laboratory’s control are aware of: |  |
|  | Relevant objectives and policies; |  |
|  | Their contribution to the effectiveness of the management system, including the benefits of improved performance; |  |
|  | The consequences of not conforming with the management system requirements. |  |
| 8.2 | Management system documentation, How are the following addressed / implemented? |  |
| 8.2.1 | General |  |
|  | Laboratory management shall establish, document, and maintain objectives and policies for the fulfilment of the purposes of this document and shall ensure that the objectives and policies are acknowledged and implemented at all levels of the laboratory organization. |  |
| 8.2.2 | Competence and quality |  |
|  | The objectives and policies shall address the competence, quality and consistent operation of the laboratory. |  |
| 8.2.3 | Evidence of commitment |  |
|  | Laboratory management shall provide evidence of commitment to the development and implementation of the management system and to continually improving its effectiveness. |  |
| 8.2.4 | Documentation |  |
|  | All documentation, processes, systems, and records, related to the fulfilment of the requirements of this document shall be included in, referenced from, or linked to the management system. |  |
| 8.2.5 | Personnel access |  |
|  | All personnel involved in laboratory activities shall have access to the parts of the management system documentation and related information that are applicable to their responsibilities. |  |
| 8.3 | Control of management system documents), How are the following addressed / implemented? |  |
| 8.3.1 | General |  |
|  | The laboratory shall control the documents (internal and external) that relate to the fulfilment of this document. |  |
|  | NOTE. In this context, "document" can be policy statements, procedures and related job aids, flow charts, instructions for use, specifications, manufacturer's instructions, calibration tables, biological reference intervals and their origins, charts, posters, notices, memoranda, software documentation, drawings, plans, agreements, and documents of external origin such as laws, regulations, standards and textbooks from which examination methods are taken, documents describing personnel qualifications (such as job descriptions), etc. These can be in any form or type of medium, such as hard copy or digital. |  |
| 8.3.2 | Control of documents, How are the following addressed / implemented? |  |
|  | The laboratory shall ensure that: |  |
|  | Documents are uniquely identified; |  |
|  | Documents are approved for adequacy before issue by authorized personnel who have the expertise and competence to determine adequacy; |  |
|  | Documents are periodically reviewed and updated as necessary; |  |
|  | Relevant versions of applicable documents are available at points of use and, where necessary, their distribution is controlled; |  |
|  | Changes and the current revision status of documents are identified; |  |
|  | Documents are protected from unauthorized changes and any deletion or removal; |  |
|  | Documents are protected from unauthorized access; |  |
|  | The unintended use of obsolete documents is prevented, and suitable identification is applied to them if they are retained for any purpose; |  |
|  | At least one paper or electronic copy of each obsolete controlled document is retained for a specified time period or in accordance with applicable specified requirements. |  |
| 8.4 | Control of records |  |
| 8.4.1 | Creation of records, How are the following addressed / implemented? |  |
| Notes in Std | The laboratory shall establish and retain legible records to demonstrate fulfilment of the requirements of this document. Records shall be created at the time each activity that affects the quality of an examination is performed. |  |
| 8.4.2 | Amendment of records, How are the following addressed / implemented? |  |
|  | The laboratory shall ensure that amendments to records can be traced to previous versions or to original observations. Both the original and amended data and files shall be kept, including the date and where relevant, the time, of alteration, an indication of the altered aspects and the personnel making the alterations. |  |
| 8.4.3 | Retention of records, How are the following addressed / implemented? |  |
| Notes in Std | The laboratory shall implement the procedures needed for the identification, storage, protection from unauthorized access and changes, back-up, archive, retrieval, retention time, and disposal of its records. |  |
|  | The retention times for records shall be specified. |  |
|  | Reported examination results shall be retrievable for as long as necessary or as required. |  |
|  | All records shall be accessible throughout the entire retention period, legible in whichever medium the laboratory keeps records, and available for laboratory management review (see 8.9). |  |
| 8.5 | Actions to address risks and opportunities for improvement |  |
| 8.5.1 | Identification of risks and opportunities for improvement, How are the following addressed / implemented? |  |
|  | The laboratory shall identify risks and opportunities for improvement associated with the laboratory activities to: |  |
|  | Prevent or reduce undesired impacts and potential failures in the laboratory activities; |  |
|  | Achieve improvement, by acting on opportunities; |  |
|  | Assure that the management system achieves its intended results; |  |
|  | Mitigate risks to patient care; |  |
|  | Help achieve the purpose and objectives of the laboratory. |  |
| 8.5.2 | Acting on risks and opportunities for improvement, How are the following addressed / implemented? |  |
| Notes in Std | The laboratory shall prioritize and act on identified risks. Actions taken to address risks shall be proportional to the potential impact on laboratory examination results, as well as patient and personnel safety. The laboratory shall record decisions made and actions taken on risks and opportunities. The laboratory shall integrate and implement actions on identified risks and improvement opportunities into its management system and evaluate their effectiveness. |  |
|  | NOTE 1. Options to address risks can include identifying and avoiding threats, eliminating a risk source, reducing the likelihood or consequences of a risk, transferring a risk, taking a risk in order to pursue an opportunity for improvement, or accepting risk by informed decision. |  |
|  | NOTE 3. Opportunities for improvement can lead to expanding the scope of the laboratory activities, applying new technology, or creating other possibilities to fulfil patient and user needs. |  |
| 8.6 | Improvement |  |
| 8.6.1 | Continual improvement, How are the following addressed / implemented? |  |
|  | The laboratory shall continually improve the effectiveness of the management system, including the pre-examination, examination and post-examination processes as stated in the objectives and policies. |  |
|  | The laboratory shall identify and select opportunities for improvement and develop, document, and implement any necessary actions. Improvement activities shall be directed at areas of highest priority based on risk assessments and the opportunities identified (see 8.5). |  |
|  | NOTE. Opportunities for improvement can be identified through risk assessment, use of the policies, review of the operational procedures, overall objectives, external evaluation reports, internal audit findings, complaints, corrective actions, management reviews, suggestions from personnel, suggestions or feedback from patients and users, analysis of data and EQA results. |  |
|  | The laboratory shall evaluate the effectiveness of the actions taken. |  |
|  | Laboratory management shall ensure that the laboratory participates in continual improvement activities that encompass relevant areas and outcomes of patient care. |  |
|  | Laboratory management shall communicate to personnel its improvement plans and related goals. |  |
| 8.6.2 | Laboratory patients, user, and personnel feedback, How are the following addressed / implemented? |  |
|  | The laboratory shall seek feedback from its patients, users, and personnel. The feedback shall be analyzed and used to improve the management system, laboratory activities and services to users. Records of feedback shall be maintained including the actions taken. Communication shall be provided to personnel on actions taken arising from their feedback. |  |
| 8.7 | Nonconformities and corrective actions, How are the following addressed / implemented? |  |
| 8.7.1 | Actions when nonconformity occurs, How are the following addressed / implemented? |  |
|  | When a nonconformity occurs, the laboratory shall: |  |
|  | Respond to the nonconformity and, as applicable: Take immediate action to control and correct the nonconformity; Address the consequences, with a particular focus on patient safety including escalation to the appropriate person. |  |
|  | Determine the cause(s) of the nonconformity. |  |
|  | Evaluate the need for corrective action to eliminate the cause(s) of the nonconformity, in order to reduce the likelihood of recurrence or occurrence elsewhere, by: Reviewing and analyzing the nonconformity; Determining whether similar nonconformities exist, or could potentially occur; Assessing the potential risk(s) and effect(s) if the nonconformity recurs. |  |
|  | Implement any action needed. |  |
|  | Review and evaluate the effectiveness of any corrective action taken. |  |
|  | Update risks and opportunities for improvement, as needed. |  |
|  | Make changes to the management system, if necessary. |  |
| 8.7.2 | Corrective action effectiveness, How are the following addressed / implemented? |  |
|  | Corrective actions shall be appropriate to the effects of the nonconformities encountered and shall mitigate the identified cause(s). |  |
| 8.7.3 | Records of nonconformities and corrective actions, How are the following addressed / implemented? |  |
|  | The laboratory shall retain records as evidence of the |  |
|  | Nature of the nonconformities, cause(s) and any subsequent actions taken, and |  |
|  | Evaluation of the effectiveness of any corrective action. |  |
| 8.8 | Evaluations, How are the following addressed / implemented? |  |
| 8.8.1 | General |  |
|  | The laboratory shall conduct evaluations at planned intervals to demonstrate that the management, support, and pre-examination, examination, and post-examination processes meet the needs and requirements of patients and laboratory users, and to ensure conformity to the requirements of this document. |  |
| 8.8.2 | Quality indicators, How are the following addressed / implemented? |  |
|  | The process of monitoring quality indicators [see 5.5 d)] shall be planned, which includes establishing the objectives, methodology, interpretation, limits, action plan and duration of monitoring. The indicators shall be periodically reviewed, to ensure continued appropriateness. |  |
| 8.8.3 | Internal audits, How are the following addressed / implemented? |  |
| 8.8.3.1 | The laboratory shall conduct internal audits at planned intervals to provide information on whether the management system: |  |
|  | Conforms to the laboratory’s own requirements for its management system, including the laboratory activities, |  |
|  | Conforms to the requirements of this document, and |  |
|  | Is effectively implemented and maintained. |  |
| 8.8.3.2 | The laboratory shall plan, establish, implement and maintain an internal audit programme that includes: |  |
| Notes in Std | Priority given to risk to patients from laboratory activities; |  |
|  | A schedule which takes into consideration identified risks; the outcomes of both external evaluations and previous internal audits; the occurrence of nonconformities, incidents, and complaints; and changes affecting the laboratory activities; |  |
|  | Specified audit objectives, criteria and scope for each audit; |  |
|  | Selection of auditors who are trained, qualified and authorized to assess the performance of the laboratory's management system, and, whenever resources permit, are independent of the activity to be audited; |  |
|  | Ensuring objectivity and impartiality of the audit process; |  |
|  | Ensuring that the results of the audits are reported to relevant personnel; |  |
|  | Implementation of appropriate correction and corrective actions without undue delay; |  |
|  | Retention of records as evidence of the implementation of the audit programme and audit results. |  |
| 8.9 | Management reviews |  |
| 8.9.1 | General, How are the following addressed / implemented? |  |
|  | Laboratory management shall review its management system at planned intervals to ensure its continuing suitability, adequacy and effectiveness, including the stated policies and objectives related to the fulfilment of this document. |  |
| 8.9.2 | Review input, How are the following addressed / implemented? |  |
|  | The inputs to management review shall be recorded and shall include evaluations of at least the following: |  |
|  | Status of actions from previous management reviews, internal and external changes to the management system, changes in the volume and type of laboratory activities and adequacy of resources; |  |
|  | Fulfilment of objectives and suitability of policies and procedures; |  |
|  | Outcomes of recent evaluations, process monitoring using quality indicators, internal audits, analysis of non-conformities, corrective actions, assessments by external bodies; |  |
|  | Patient, user and personnel feedback and complaints; |  |
|  | Quality assurance of result validity; |  |
|  | Effectiveness of any implemented improvements and actions taken to address risks and opportunities for improvement; |  |
|  | Performance of external providers; |  |
|  | Results of participation in interlaboratory comparison programmes; |  |
|  | Evaluation of POCT activities; |  |
|  | Other relevant factors, such as monitoring activities and training. |  |
| 8.9.3 | Review output, How are the following addressed / implemented? |  |
|  | The output from the management review shall be a record of decisions and actions related to at least: |  |
|  | The effectiveness of the management system and its processes; |  |
|  | Improvement of the laboratory activities related to the fulfilment of the requirements of this document; |  |
|  | Provision of required resources; |  |
|  | Improvement of services to patients and users; |  |
|  | Any need for change. |  |
|  | Laboratory management shall ensure that actions arising from management review are completed within a specified time frame. Conclusions and actions arising from management reviews shall be communicated to laboratory personnel. |  |
| Annex A | (Normative) Additional requirements for Point-of-Care Testing (POCT) |  |
| PB14G | EGAC Policy on Implementation and Use of Proficiency Testing, How are the following addressed / implemented (e.g; Retention time, plan, corrective actions, and improvement? |  |
| PB6M | Guide for accreditation of medical labs |  |
| Additional Team Leader Notes (This may be used for rough notes as well) |
| Signed : Team Leader |  | Date: |  |